SECTION 10260

CORNER GUARDS

PART 1  GENERAL

1.01 SECTION INCLUDES

A. 2" X 2"  (50.8 mm X 50.8 mm) corner guards.

1.02 SUBMITTALS

A. Comply with the requirements of Section 001300- Submittals.

B. Product Data: Submit manufacturers product data.

C. Shop Drawings: Submit Shop Drawings showing Components, dimensions. And anchorage details.

D. Samples: Submit 12" (304.8 mm) long sample of each model and color specified, including end caps and internal components for architect’s approval.

E. Certification: Submit manufacturer’s certification indicating compliance with ADA requirements.

1.03 QUALITY ASSURANCE

A. Comply with NFPA 101 for interior finished materials.  Smoke developed less than 450 and flame spread of 25 or less in accordance with ASTM E84.

1.04 DELIVERY, STORAGE, AND HANDLING

A. Delivery: Deliver materials to site in manufacturer’s original, unopened containers and packaging with labels clearly indicating manufacturer of material.

B. Storage: Store materials indoors in a clean, dry area protected from damage and in accordance with manufacturer’s instructions.

C. Handling: Protect materials during handling and installation to prevent damage.

PART 2  PRODUCTS

2.01 MANUFACTURER

A. Spectrim Building Products, LLC

2.02 CORNER GUARD

A. Spectrim Corner Guard: Corner Guard Mounted over continuous aluminum retainer.  Exposed surfaces shall be free of wrinkling, chipping, discoloration, or other imperfections.

1. Dimensions:

a. Leg Length: 2" (50.8 mm).

b. Angle: 90º.

c. Clearance from Wall (Model CG1,2, and 4 are all installed flush to wall.

2. Profile: L-shaped high impact smooth vinyl acrylic extrusion, locked in place, nominal .102" (2.59mm) thick including decorative PVC thermal foil film cap, .012" - .016" thick. Class 1/A fire rating, tested in accordance with ASTM E84.

3. Retainer: Continuous retainer along entire length of corner guard, Minimum 				.06" (1.524 mm) thick 6063-T5 aluminum.

5. End Cap: Injection molded core ABS/Poly Carbonate/ Glass Fiber blend to withstand 161 foot pounds impact pressure without splitting, shattering, or breaking.  Finished with matching decorative cap film.

6. Finish: Color to be selected by Architect from manufacturer’s standard color offerings.

PART 3 EXECUTION

3.01 EXAMINATION

A. Inspect wall surfaces to receive crash rails.  Notify the Architect in writing if wall surfaces are not acceptable.  Do not begin installation until unacceptable conditions have been corrected.

3.02 INSTALLATION

A. Install Corner Guards to wall securely and in accordance with manufacturer’s written instructions.

B. Install Corner Guards accurately in location, alignment ad elevation.

C. Provide steel stud or corner back-up in drywall stud cavity to accept fasteners.